{"text_format":"2","workbook":"xlsx","n_sheets":4,"sheets":["Januar","Februar","März","April"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Januar","index":0,"n_rows":13,"n_cols":3,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"aktuelle Werte Januar 2025"]
["Kurzbezeichnung","Zone ","H0n [kWh/m3]"]
["BWBBTF3","Bitterfeld, Anhaltstraße",11.493000292697612]
["BWBBTF2","Bitterfeld, Bergmannsiedlung",11.206000213819028]
["BWBBTF5","Bitterfeld, Freiherr-vom-Stein-Straße",11.492999987126288]
["BWBBTF4","Bitterfeld, Friedensstraße",11.203000006353625]
["BWBBTF1A","Bitterfeld, Ziegelstraße",11.196102941348961]
["BWBBTF1B","Bitterfeld, Zscherndorfer Weg",11.493000019917812]
["BWBGreppin","Greppin",11.493000056752134]
["BWBHolzweiß","Holzweißig",11.443845404458553]
["BWBGMA2","Wolfen",11.478999999999999]
["BWBROED-ZSCH","Wolfen, Rödgen-Zschepkau ",11.110000400464726]

{"sheet":"Februar","index":1,"n_rows":13,"n_cols":3,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"aktuelle Werte Februar 2025"]
["Kurzbezeichnung","Zone ","H0n [kWh/m3]"]
["BWBBTF3","Bitterfeld, Anhaltstraße",11.491000087351996]
["BWBBTF2","Bitterfeld, Bergmannsiedlung",11.22400058840679]
["BWBBTF5","Bitterfeld, Freiherr-vom-Stein-Straße",11.490999946449248]
["BWBBTF4","Bitterfeld, Friedensstraße",11.220999963840905]
["BWBBTF1A","Bitterfeld, Ziegelstraße",11.215981844289887]
["BWBBTF1B","Bitterfeld, Zscherndorfer Weg",11.491000019891173]
["BWBGreppin","Greppin",11.491000088464887]
["BWBHolzweiß","Holzweißig",11.440126023132297]
["BWBGMA2","Wolfen",11.47968367806364]
["BWBROED-ZSCH","Wolfen, Rödgen-Zschepkau ",11.464999783626935]

{"sheet":"März","index":2,"n_rows":13,"n_cols":3,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"aktuelle Werte März 2025"]
["Kurzbezeichnung","Zone ","H0n [kWh/m3]"]
["BWBBTF3","Bitterfeld, Anhaltstraße",11.488002071509699]
["BWBBTF2","Bitterfeld, Bergmannsiedlung",11.095999269058018]
["BWBBTF5","Bitterfeld, Freiherr-vom-Stein-Straße",11.485000044918531]
["BWBBTF4","Bitterfeld, Friedensstraße",11.088999986718047]
["BWBBTF1A","Bitterfeld, Ziegelstraße",11.080820946478422]
["BWBBTF1B","Bitterfeld, Zscherndorfer Weg",11.486653366826946]
["BWBGreppin","Greppin",11.488297391863686]
["BWBHolzweiß","Holzweißig",11.427906163096567]
["BWBGMA2","Wolfen",11.507026833485693]
["BWBROED-ZSCH","Wolfen, Rödgen-Zschepkau ",11.40299975594427]

{"sheet":"April","index":3,"n_rows":13,"n_cols":3,"rows_kept":13,"cut":false,"hidden":false,"merged":[]}
[]
[null,null,"aktuelle Werte April 2025"]
["Kurzbezeichnung","Zone ","H0n [kWh/m3]"]
["BWBBTF3","Bitterfeld, Anhaltstraße",11.26500141322987]
["BWBBTF2","Bitterfeld, Bergmannsiedlung",10.843001259243803]
["BWBBTF5","Bitterfeld, Freiherr-vom-Stein-Straße",11.227999818884069]
["BWBBTF4","Bitterfeld, Friedensstraße",10.835999926084359]
["BWBBTF1A","Bitterfeld, Ziegelstraße",10.828376994257432]
["BWBBTF1B","Bitterfeld, Zscherndorfer Weg",11.5232201414664]
["BWBGreppin","Greppin",11.445410881140763]
["BWBHolzweiß","Holzweißig",11.46043666292849]
["BWBGMA2","Wolfen",11.548]
["BWBROED-ZSCH","Wolfen, Rödgen-Zschepkau ",11.292999974904008]